# One-year budgeting plan for inventory management and itemized BOM (Bill of Materials) for Smart Quality Integration device units

1. Estimated Item List (Per Unit – Smart Quality Device)

This is a realistic list of components needed for 1 unit based on the context (RTD sensors, IoT integration, MES, digital twin systems, etc.).

| Item | Qty/Unit | Unit Cost (USD) | Total Cost/Unit |
| --- | --- | --- | --- |
| Pt100 Class A RTD Sensor | 1 | $120 | $120 |
| Signal Transmitter (HART/IO-Link) | 1 | $95 | $95 |
| Edge Gateway (MQTT/TLS Compatible) | 1 | $320 | $320 |
| Wi-Fi/LoRa Interface Module | 1 | $75 | $75 |
| Enclosure (IP65 Rated) | 1 | $40 | $40 |
| Cabling + Connectors | 1 set | $15 | $15 |
| Microcontroller (ARM/Cortex-M4) | 1 | $25 | $25 |
| Power Supply (Battery/AC Adapter) | 1 | $20 | $20 |
| Calibration Kit (shared across 20) | 0.05 | $300 per kit | $15 |
| Software License (Per Device) | 1 | $50 | $50 |
| Compliance Labeling & Tags | 1 set | $5 | $5 |

Total Estimated Cost per Unit: ≈ $780

2. Spare Parts Needed for 100 Units (Based on Failure Rate & Maintenance)

Assumption: Conservative failure/spare rate of ~5% for replaceable items

| Spare Part | Original Qty for 100 Units | Spare Qty (5%) | Unit Cost | Spare Total Cost |
| --- | --- | --- | --- | --- |
| RTD Sensors (Pt100) | 100 | 5 | $120 | $600 |
| Signal Transmitters | 100 | 5 | $95 | $475 |
| Interface Modules (Wi-Fi/LoRa) | 100 | 5 | $75 | $375 |
| Power Supplies | 100 | 10 | $20 | $200 |
| Microcontrollers | 100 | 5 | $25 | $125 |
| Cabling Sets | 100 | 10 | $15 | $150 |

Total Spare Parts Budget: ≈ $1,925

3. One-Year Budgeting Plan (For Stakeholders)

| Category | Unit Cost (USD) | Qty/Year | Total Cost (USD) |
| --- | --- | --- | --- |
| Production Units (100 devices) | $780 | 100 | $78,000 |
| Spare Parts (5% Coverage) | – | – | $1,925 |
| Calibration Kits (Annual Reuse) | $300 | 5 | $1,500 |
| Software Licenses (Per Device) | $50 | 100 | $5,000 |
| Maintenance & Downtime Reserve | – | – | $3,000 |
| Packaging & Logistics | $12/unit | 100 | $1,200 |
| Staff Training & Compliance Docs | – | – | $2,500 |
| Contingency (5% of Total) | – | – | $4,655 |

Total Estimated Budget (1 Year, 100 Devices): ≈ $97,780

Summary for Stakeholders

- Core Production Cost (100 units): $78,000

- Operational Resilience (Spares + Training + Docs): $10,925

- Software & Calibration: $6,500

- Contingency Buffer (5%): $4,655

- Total: ≈ $97.8K