ELISA-Based IVD Manufacturing with RTD Sensors and Digital Twin (Quality 5.0)

1. Purpose and Scope

This document defines:

- A Critical to Quality (CTQ) tree for ELISA-based in vitro diagnostic (IVD) manufacturing in a Quality 5.0 smart-manufacturing framework, using:

  - RTD sensors

  - Digital twin predictions

  - SPC charts (p, np, c, u, X̄–R, X̄–S, I–MR)

- A reliability analysis approach based on the same dataset, including:

  - Batch-wise failure rate (defective fraction)

  - An approximate reliability curve

  - A bathtub-style failure-rate curve over production age

All CTQs and analyses here are directly achievable from the dataset:

Dataset file: Medical_Device_Manufacturing_Dataset_20k_SPC.csv
Key columns (subset):

- Identification & traceability:
Record ID, Batch ID, Subgroup ID, Sample No, Timestamp,
Line ID, Process Step, Machine ID, Operator ID,
Reagent Lot, Material Lot

- Process measurements:
RTD Temperature (C), pH Level, Absorbance (OD)

- Digital twin & residuals:
DT Pred Temp (C), DT Pred pH, DT Pred OD,
Temp Residual, pH Residual, OD Residual

- Defects and defectives:
n Inspected, Defectives (np), Defect Rate (p),
Opportunities, Defects (c), Defects per Unit (u)

- Quality system fields:
Control Status, Spec Status, Risk Score,
Anomaly Detected, Special Cause Flag, Special Cause Type,
Event ID, CAPA Trigger Recommended

- Data integrity:
Created At, Created By, Record Version, Record Hash (SHA-256)

2. CTQ Tree (Based Only on Dataset Fields)

2.1 Top-Level Customer / Regulatory Need

Safe, accurate, and reliable IVD results from a statistically stable, traceable, and compliant smart-manufacturing process.

2.2 CTQ Area 1 – Analytical Performance (Result Accuracy & Stability)

CTQ 1.1 – OD within validated range and stable

- What matters
Optical density (OD) values must remain within validated limits and not drift over time.

- Dataset fields used

  - Absorbance (OD)

  - DT Pred OD, OD Residual

  - Timestamp, Batch ID, Subgroup ID, Sample No

- How to measure (examples)

  - X̄–R or X̄–S chart on Absorbance (OD) using Subgroup ID and Sample No

  - I–MR chart on Absorbance (OD) vs Timestamp

  - I–MR chart on OD Residual to detect digital-twin drift

  - Control-rule checks: points beyond limits, trends, runs.

2.3 CTQ Area 2 – Critical Process Parameters (CPPs)

CTQ 2.1 – RTD temperature in range and under control

- What matters
Process temperature must stay within validated limits and exhibit only common-cause variation.

- Dataset fields used

  - RTD Temperature (C)

  - DT Pred Temp (C), Temp Residual

  - Timestamp, Subgroup ID, Sample No

- How to measure

  - X̄–R / X̄–S charts on RTD Temperature (C) using Subgroup ID, Sample No

  - I–MR chart on RTD Temperature (C) vs Timestamp

  - I–MR chart on Temp Residual to monitor model accuracy.

CTQ 2.2 – pH in range and under control

- What matters
pH at critical steps must stay in a validated band, without uncontrolled shifts.

- Dataset fields used

  - pH Level

  - DT Pred pH, pH Residual

  - Timestamp, Subgroup ID, Sample No

- How to measure

  - X̄–R / X̄–S charts on pH Level (subgroup-based)

  - I–MR on pH Level vs Timestamp

  - I–MR on pH Residual for digital-twin monitoring.

CTQ 2.3 – Within-subgroup variation is stable

- What matters
Variation within a subgroup (e.g., within a batch/plate) must be controlled and predictable.

- Dataset fields used

  - Subgroup ID, Sample No

  - RTD Temperature (C), pH Level, Absorbance (OD)

- How to measure

  - R and S charts as the lower panel of X̄–R or X̄–S for key variables.

2.4 CTQ Area 3 – Product Quality: Defects & Defectives

CTQ 3.1 – Fraction defective per batch (yield)

- What matters
The fraction of defective units must remain below defined acceptance limits.

- Dataset fields used

  - Batch ID, Timestamp

  - n Inspected, Defectives (np), Defect Rate (p)

- How to measure

  - p chart: Defect Rate (p) or Defectives (np) / n Inspected per Batch ID

  - np chart: Defectives (np) per Batch ID when sample sizes are approximately constant.

CTQ 3.2 – Defect count and defects per opportunity

- What matters
Both the total defects and normalized defects per opportunity must be controlled.

- Dataset fields used

  - Batch ID, Timestamp

  - Defects (c), Opportunities, Defects per Unit (u)

- How to measure

  - c chart on Defects (c) per Batch ID

  - u chart on Defects per Unit (u) or Defects (c) / Opportunities.

2.5 CTQ Area 4 – Compliance, Traceability & Data Integrity

CTQ 4.1 – Full record traceability

- What matters
Every data point is traceable to batch, operator, machine, and materials.

- Dataset fields used

  - Record ID

  - Batch ID, Subgroup ID, Sample No, Timestamp

  - Line ID, Process Step, Machine ID, Operator ID

  - Reagent Lot, Material Lot

- How to measure

  - Verify uniqueness and non-nullity of Record ID

  - Check no missing Batch ID, Subgroup ID, Sample No, Timestamp

  - Validate that each record can be linked back to lot, operator, and machine.

CTQ 4.2 – ALCOA+ electronic record integrity

- What matters
Electronic records comply with ALCOA+ (Attributable, Legible, Contemporaneous, Original, Accurate, Complete, Consistent, Enduring, Available).

- Dataset fields used

  - Created At, Created By, Record Version, Record Hash (SHA-256)

- How to measure

  - No missing Created At or Created By

  - Record Version increments in controlled ways (per change control)

  - Record Hash (SHA-256) changes only when record content changes.

CTQ 4.3 – Special causes and CAPA triggers are logged

- What matters
Special-cause variation and anomalies are recorded and linked to CAPA triggers when needed.

- Dataset fields used

  - Special Cause Flag, Special Cause Type, Event ID

  - Anomaly Detected, Risk Score, CAPA Trigger Recommended

- How to measure

  - Every Special Cause Flag = 1 has a corresponding Event ID

  - Rules for when Risk Score + anomaly → CAPA Trigger Recommended = 1

  - Monitoring counts and closure of such events.

3. Reliability Analysis Using the Dataset

This dataset does not contain field time-to-failure for devices; it contains manufacturing defect and process data. We therefore perform process reliability analysis:

- Each inspected unit is a “potential failure”.

- Defectives (np) represent “failures” (nonconforming units).

- n Inspected represents the population at risk per batch.

- Time is represented by the order of Batch ID over Timestamp.

3.1 Batch-wise Failure Rate

Definition
For each batch i:

- Number of inspected units:
ni=∑n Inspectedwithin that batch.

- Number of defective units:
fi=∑Defectives (np)within that batch.

- Failure rate per batch (defective rate):
λi=fi/ni
(equivalent to batch-level Defect Rate (p)).

Data used

- Batch ID

- Timestamp

- n Inspected

- Defectives (np) (and optionally Defect Rate (p))

This gives a failure-rate curve over production, showing how the defective rate changes batch by batch.

3.2 Approximate Reliability Curve Rk

We treat the production sequence as a series of “age” steps. For batch index i:

- Hazard per step: hi=λi, clipped to [0, 0.99] for numerical stability.

- Approximate reliability after k steps:

Rk≈i=1k(1-hi)

This represents an approximate “probability of not failing” up to batch kbased on observed defective rates.

3.3 Bathtub-Style Failure Rate Curve

To approximate an “early–mid–late” (bathtub) behavior for the process:

- Sort batches by time (Timestamp).

- Split the sequence into equal age segments (e.g., 10 segments).

- Compute the mean failure rate in each segment.

This allows you to see whether the process exhibits:

- High early failure rates (start-up issues),

- Stable mid-life behavior,

- Increasing failure rates later (wear-out, cumulative issues).

4. Example R Code for Reliability Analysis

This code assumes you have the CSV in your working directory as
Medical_Device_Manufacturing_Dataset_20k_SPC.csv.

4.1 Load and Aggregate Data

library(readr)

library(dplyr)

library(ggplot2)

# 1) Load data

df <- read_csv("Medical_Device_Manufacturing_Dataset_20k_SPC.csv",

show_col_types = FALSE)

# 2) Parse Timestamp (supports ISO with 'T')

df$Timestamp <- as.POSIXct(df$Timestamp, format = "%Y-%m-%dT%H:%M:%S", tz = "UTC")

# 3) Aggregate to batch level

batch <- df %>%

group_by(`Batch ID`, Timestamp) %>%

summarise(

n         = sum(`n Inspected`,     na.rm = TRUE),

failures  = sum(`Defectives (np)`, na.rm = TRUE),

fail_rate = failures / n,  # same logic as Defect Rate (p)

.groups   = "drop"

) %>%

arrange(Timestamp) %>%

mutate(batch_index = row_number())

4.2 Failure Rate Curve

ggplot(batch, aes(x = batch_index, y = fail_rate)) +

geom_line() +

geom_point(size = 0.8) +

labs(

title = "Process Failure Rate per Batch",

x = "Batch index (time order)",

y = "Failure rate (Defectives / n Inspected)"

) +

theme_minimal()

4.3 Approximate Reliability Curve

batch <- batch %>%

mutate(

hazard      = pmin(pmax(fail_rate, 0), 0.99), # clip to avoid 1

reliability = cumprod(1 - hazard)

)

ggplot(batch, aes(x = batch_index, y = reliability)) +

geom_line() +

labs(

title = "Approximate Process Reliability over Production",

x = "Batch index (time order)",

y = "Reliability R"

) +

theme_minimal()

4.4 Bathtub-Style Failure Rate (Age Segments)

# Divide production into 10 equal age segments (early → late)

bathtub <- batch %>%

mutate(age_segment = ntile(batch_index, 10)) %>%

group_by(age_segment) %>%

summarise(

mean_fail_rate = mean(fail_rate, na.rm = TRUE),

.groups = "drop"

)

ggplot(bathtub, aes(x = age_segment, y = mean_fail_rate)) +

geom_line() +

geom_point() +

labs(

title = "Bathtub-Style Failure Rate by Production Age Segment",

x = "Age segment (early → late production)",

y = "Mean failure rate"

) +

theme_minimal()

5. Summary

- The CTQ tree defined here uses only fields present in your dataset, so every CTQ claim is measurable using the existing data.

- SPC charts (p, np, c, u, X̄–R, X̄–S, I–MR) can be built on:

  - Process variables (RTD Temperature (C), pH Level, Absorbance (OD), residuals),

  - Attribute data (n Inspected, Defectives (np), Defects (c), Opportunities, Defects per Unit (u)).

- A process reliability view is constructed using:

  - Batch-wise defective rate as a failure rate,

  - Cumulative reliability approximation,

  - A bathtub-style curve over production age segments.