Title: Monitoring and Validating Immunoassay Batch Quality Using Digital Twin Analytics
SOP ID: IMM-SOP-0025
Effective Date: 2025-11-10
Author: Digital Quality Systems – Technical Writing
Reviewed By: [Insert Reviewer Name/Title]
Approved By: [Insert Approver Name/Title]
Version: 1.0

1.0 Background

This SOP describes the use of a digital twin framework to monitor and control the production of enzyme-linked immunosorbent assays (ELISAs) intended for in vitro diagnostic (IVD) use. These ELISA kits are developed for the quantitative detection of proinflammatory cytokines, including interleukin-6 (IL-6) and tumor necrosis factor-alpha (TNF-α). These assays are used in the clinical management of sepsis, autoimmune conditions such as rheumatoid arthritis, and for monitoring immunosuppression in post-transplant patients.

The device is a plate-based, microfluidic-enhanced ELISA system that has received FDA clearance under 510(k) and is commercially available in the United States. It is also CE-marked under the In Vitro Diagnostic Regulation (IVDR) and distributed in the European Union and selected Asia-Pacific markets. All production processes follow regulatory and quality requirements including ISO 13485 and 21 CFR Part 820.

2.0 Digital Twin and IoT Integration in Manufacturing

All assay batches are manufactured using real-time monitored bioreactor systems integrated with a digital twin platform and an IoT-enabled Manufacturing Execution System (MES). This setup allows for continuous, automated quality monitoring of three critical process parameters: temperature, pH level, and optical density (absorbance at 450 nm). These data points are collected every two hours during batch processing.

3.0 IoT Components and Data Integrity Measures

Temperature is measured using GMP-compliant Class A Pt100 RTD sensors with a precision of ±0.15°C. pH is monitored through inline, auto-calibrated, NIST-traceable electrodes. Absorbance is captured using embedded photo-optical sensors operating at 450 nm, integrated into the microfluidic detection chambers.

Sensor data is transmitted through a secure MQTT protocol layered with TLS encryption to ensure data integrity. Each batch’s data is pre-processed through a secure local edge gateway before syncing with the MES. All data is stored in a 21 CFR Part 11-compliant environment with full timestamping, version control, and audit trail functionality.

This infrastructure ensures traceable, reproducible, and regulation-compliant data management, supporting early detection of anomalies, automated risk scoring, and smart contract-based data locking. The system contributes to a sustainable, human-centered approach to quality control in alignment with Quality 5.0 principles.

1.0 Purpose

This SOP defines a framework for integrating smart quality control systems into in vitro diagnostic (IVD) manufacturing using RTD sensors, digital twins, and IoT infrastructure. It supports compliance with all applicable U.S. regulations for medical device manufacturers, including:

- FDA Quality System Regulation (21 CFR Part 820)

- Electronic Records and Signatures (21 CFR Part 11)

- Medical device labeling (21 CFR Part 801)

- Device registration (21 CFR Part 807)

- Unique Device Identification (21 CFR Part 830)

- ISO 13485 and ISO 14971 for international alignment

2.0 Scope

Applies to all U.S.-based operations involved in the design, manufacture, or quality assurance of ELISA-based IVD products. Covers digital quality monitoring, real-time sensor integration, audit readiness, risk management, and technical documentation practices.

3.0 Responsibilities

- Regulatory Affairs: Ensures conformity with FDA regulations, device registration, UDI, and reporting standards

- Quality Assurance: Leads implementation of process validation, CAPA, internal audits, and document control

- Production Engineering: Integrates RTD and IoT infrastructure with MES systems

- IT/Data Governance: Maintains secure data flows, user access controls, and audit trails for Part 11 compliance

- Technical Documentation: Maintains traceable, version-controlled records aligned with labeling and submission standards

4.0 Procedure Overview

• Deploy RTD sensors for continuous monitoring of temperature, pH, and absorbance
• Connect sensors to IoT-enabled MES platforms for real-time data logging
• Use digital twins to simulate, validate, and monitor process conditions
• Implement anomaly detection and risk scoring for early deviation control
• Record data in 21 CFR Part 11-compliant systems with audit logs
• Generate documentation aligned with labeling, UDI, and DHF requirements

5.0 Regulatory Compliance Matrix

- 21 CFR Part 820 – QSR: Design controls, validation, CAPA, production records

- 21 CFR Part 11 – Electronic records and audit trails

- 21 CFR Part 801 – Labeling traceability

- 21 CFR Part 807 – Registration and listing

- 21 CFR Part 830 – UDI compliance

- ISO 13485 – Device-specific QMS structure

- ISO 14971 – Risk management integration

6.0 Deliverables and Validation

- SOPs aligned with FDA/ISO standards

- Editable training documents and risk logs

- Simulated data flows for audit readiness

- Automated alerts tied to CAPA systems

- Maintained audit trails for traceability

7.0 References

- FDA 21 CFR Part 820

- FDA 21 CFR Part 11

- FDA 21 CFR Part 801

- FDA 21 CFR Part 807

- FDA 21 CFR Part 830

- ISO 13485:2016

- ISO 14971:2019