Comprehensive Study Plan

1. Research Foundation & Scope Alignment

- Define core research aim: Evaluate the impact of integrating RTD sensors with ELISA-based IVD manufacturing within a Quality 5.0 smart-manufacturing framework.

- Finalize research objectives, research questions, and hypotheses.

- Confirm study boundaries (technology focus, regulatory parameters, manufacturing scope).

- Validate alignment with ISO 13485, FDA 21 CFR Part 820/11, and Quality 5.0 principles.

2. Literature & Evidence Development

- Conduct systematic review of peer-reviewed literature on:

  - ELISA-based IVD diagnostics

  - Temperature stability impacts

  - RTDs in regulated environments

  - Digital twins, IoT, MES/QMS integration

  - Lean, Six Sigma, Kaizen, and Quality 5.0 frameworks

- Build annotated bibliography.

- Construct evidence matrix mapping sources to problem areas and proposed solutions.

- Identify gaps the study will address.

3. Process Mapping & System Architecture Definition

- Review and refine the existing Smart Quality Integration process map.

- Define the as-is ELISA manufacturing workflow (pre-RTD integration).

- Define the to-be workflow integrating RTDs, IoT, MES, digital twins, and CAPA.

- Identify critical process control points (e.g., incubation, reagent stability, batch-release parameters).

- Align maps with regulatory, quality, and engineering standards.

4. Research Design & Methodological Framework

- Choose mixed-method or engineering-systems research design.

- Specify system-level analytical approach:

  - Root-cause analysis for thermal deviation events

  - Process capability analysis (Cp/Cpk)

  - Failure Modes and Effects Analysis (FMEA)

  - Digital twin simulation parameters

- Define quantitative metrics:

  - Temperature variance (°C)

  - Batch yield (%)

  - Anomaly rate (%)

  - CAPA closure time (days)

  - Cost-of-quality reductions ($)

- Identify qualitative data inputs (e.g., stakeholder interviews, engineering logs, SOP assessments).

5. Instrumentation, Data Sources & Validation

- Define RTD model, accuracy class, and calibration requirements.

- Identify ELISA-based IVD reaction phases requiring thermal stability analysis.

- Confirm digital infrastructure: IoT sensors, edge gateway, MES, QMS.

- Establish data integrity controls for compliance with:

  - FDA 21 CFR Part 11

  - ISO 14971 (risk management)

  - ISO 13485 (QMS documentation)

- Validate simulation models (digital twin) against real-world manufacturing data.

6. Data Collection & Quality Assurance Procedures

- Collect baseline data from historical ELISA batches pre-RTD integration.

- Collect RTD-enabled process data (temperature logs, anomaly events).

- Implement environmental and sensor calibration controls.

- Conduct internal data audits for completeness, accuracy, and traceability.

- Document deviations and CAPA events systematically.

7. Data Analysis & Interpretation

- Conduct comparative statistical analysis (pre- vs. post-integration).

- Calculate quality and productivity metrics (yield, defect rate, CV%, sigma level).

- Model RTD influence on thermal stability and assay accuracy.

- Simulate process performance using digital twins under variable conditions.

- Evaluate improvements in regulatory compliance, audit readiness, and data integrity.

8. Integration of Lean–Six Sigma–Kaizen Principles

- Conduct value-stream analysis to identify waste and bottlenecks.

- Apply DMAIC or DMADV to structure optimization efforts.

- Implement Kaizen-based micro-improvements in batch control steps.

- Use continuous improvement feedback loops to refine system architecture.

- Document new SOPs and workflow enhancements.

9. Economic & Strategic Impact Assessment

- Analyze financial ROI for RTD–ELISA digital integration.

- Estimate market impact based on current U.S. ELISA IVD revenue trends.

- Evaluate cost savings (scrap, rework, investigations, deviations).

- Assess operational scalability and competitive advantage.

- Model long-term economic benefits for the U.S. IVD manufacturing sector.

10. Synthesis, Conclusions & Recommendations

- Summarize findings on thermal control improvements and quality gains.

- Provide recommendations for Quality 5.0 implementation across IVD facilities.

- Highlight regulatory, economic, and operational implications.

- Identify future research opportunities (AI-enabled predictive quality, autonomous QC sensors).

- Finalize dissertation chapter drafts, revise per committee feedback.

11. Documentation, Compliance & Dissemination

- Finalize all dissertation deliverables in APA 7 format.

- Ensure alignment with institutional IRB, if human subjects or stakeholders are involved.

- Prepare executive summary for industry stakeholders.

- Submit research for publication in IVD, biomedical engineering, or quality systems journals.

- Present findings at conferences related to IVD manufacturing, Quality 5.0, and digital transformation.